## Support Structure Surrogate
Paramter | Description | Short name | Unit | Data min | Data max | Value
Initial Power | Turbine is scaled from this rated power | IP | MW |  |  | 15
Rated Power |  | RP | MW | 3 | 20 | 10
Rotor Diameter |  | D | m | 105 | 320 | 200
Transition Piece Height |  | Htrans | m | 10 | 16 | 13
Hub Height Ratio |  | HHub_Ratio | - | 0.55 | 0.85 | 0.7
Water Depth |  | WaterDepth | m | 10 | 31 | 20
Wave Height |  | WaveHeight | m | 1.5 | 5.5 | 3
Wave Period |  | WavePeriod | s | 1 | 11 | 5
Wind Speed |  | WindSpeed | m/s | 5 | 13 | 8
Supported initial powers | 3.4
10
15
Monopile mass |  |  | kg |  |  | 538598.5142
Tower mass |  |  | kg |  |  | 510558.7929
Total mass |  |  | kg |  |  | 1049157.3071

## monopile_mass_IP_15
| RP | D | Htrans | HHub_Ratio | WaterDepth | WaveHeight | WavePeriod | WindSpeed
Input | 10 | 200 | 13 | 0.7 | 20 | 3 | 5 | 8
Input scaled | -0.17647 | -0.11003 | 6.0372e-12 | 6.0372e-12 | -0.047915 | -0.25155 | -0.20124 | -0.25155
Linear | 0.038882 | 0.3159 | 0.02527 | 0.00019364 | 0.23301 | 0.0017669 | -0.0028518 | 7.4317e-05
Quadratic | 0.10984 | -0.09569 | -0.0031819 | -0.0010442 | 0.016308 | -0.0066856 | 0.00040282 | -0.0011964
| -0.09569 | 0.094808 | 0.015485 | 0.0012377 | 0.11819 | -0.010513 | -0.0043105 | 0.00017163
| -0.0031819 | 0.015485 | 0.0056763 | 0.0009287 | 0.0031259 | -0.0095656 | 0.0032267 | 0.00037543
| -0.0010442 | 0.0012377 | 0.0009287 | 0.0014427 | 0.00021024 | 0.00023269 | -0.00024569 | 0.00085503
| 0.016308 | 0.11819 | 0.0031259 | 0.00021024 | 0.021504 | 0.0078311 | -0.0060145 | -0.0011219
| -0.0066856 | -0.010513 | -0.0095656 | 0.00023269 | 0.0078311 | -0.0088108 | 0.00065502 | -0.0023819
| 0.00040282 | -0.0043105 | 0.0032267 | -0.00024569 | -0.0060145 | 0.00065502 | 0.01333 | 0.00042527
| -0.0011964 | 0.00017163 | 0.00037543 | 0.00085503 | -0.0011219 | -0.0023819 | 0.00042527 | -0.00024724
Input min | 3 | 104.4676 | 10.0185 | 0.55093 | 10.0648 | 1.5123 | 1.0308 | 5.0247
Input max | 20 | 319.1538 | 15.9815 | 0.84907 | 30.9352 | 5.4877 | 10.9692 | 12.9753
Output min | 148597.2281 | 319.1538 | 15.9815 | 0.84907 | 30.9352 | 5.4877 | 10.9692 | 12.9753
output max | 1444078.4262
3064507.4118
Output scaled Constant | [8 empty] | -0.22627
Output scaled linear | -0.0068615 | -0.034757 | 1.5256e-13 | 1.1691e-15 | -0.011165 | -0.00044448 | 0.0005739 | -1.8694e-05 | -0.052673
Output scaled quadratic | 0.0017103 | -0.00092899 | 1.695e-15 | 5.5625e-16 | 6.8947e-05 | -0.00014839 | 7.1527e-06 | -2.6556e-05 | 0.00068248
| -0.00092899 | 0.00057388 | -5.143e-15 | -4.1107e-16 | 0.00031156 | -0.00014549 | -4.7722e-05 | 2.3752e-06 | -0.0002344
| 1.695e-15 | -5.143e-15 | 1.0344e-25 | 1.6924e-26 | -4.5211e-16 | 7.2635e-15 | -1.9601e-15 | -2.8507e-16 | 1.1181e-15
| 5.5625e-16 | -4.1107e-16 | 1.6924e-26 | 2.6291e-26 | -3.0408e-17 | -1.7669e-16 | 1.4924e-16 | -6.4925e-16 | -5.6193e-16
| 6.8947e-05 | 0.00031156 | -4.5211e-16 | -3.0408e-17 | 2.4685e-05 | 4.7194e-05 | -2.8997e-05 | -6.761e-06 | 0.00041662
| -0.00014839 | -0.00014549 | 7.2635e-15 | -1.7669e-16 | 4.7194e-05 | -0.00027877 | 1.658e-05 | -7.5362e-05 | -0.00058424
| 7.1527e-06 | -4.7722e-05 | -1.9601e-15 | 1.4924e-16 | -2.8997e-05 | 1.658e-05 | 0.00026992 | 1.0764e-05 | 0.0002277
| -2.6556e-05 | 2.3752e-06 | -2.8507e-16 | -6.4925e-16 | -6.761e-06 | -7.5362e-05 | 1.0764e-05 | -7.8224e-06 | -0.00010336
Output scaled | -0.27853
Output unscaled | 538598.5142

## tower_mass_IP_15
| RP | D | Htrans | HHub_Ratio | WaterDepth | WaveHeight | WavePeriod | WindSpeed
Input | 10 | 200 | 13 | 0.7 | 20 | 3 | 5 | 8
Input scaled | -0.17647 | -0.11003 | 6.0372e-12 | 6.0372e-12 | -0.047915 | -0.25155 | -0.20124 | -0.25155
Linear | 0.088836 | 0.51128 | -0.018872 | 2.5081e-05 | 0.03087 | 0.0010419 | 0.00081378 | -2.9081e-05
Quadratic | 0.47972 | -0.56659 | -0.003098 | -0.00017822 | 0.0037445 | 0.0008083 | -0.0039667 | -0.00049699
| -0.56659 | 1.0548 | -0.010848 | 8.2444e-05 | 0.027052 | -0.0015379 | 0.0050249 | 0.00014873
| -0.003098 | -0.010848 | -0.00094774 | -0.00026498 | 0.0011618 | -0.0014783 | 0.0011351 | -7.9423e-05
| -0.00017822 | 8.2444e-05 | -0.00026498 | 0.00076449 | 0.00030566 | -0.00022587 | 6.7287e-05 | 0.00021034
| 0.0037445 | 0.027052 | 0.0011618 | 0.00030566 | -0.00083519 | 0.0018926 | -0.00094773 | -0.000332
| 0.0008083 | -0.0015379 | -0.0014783 | -0.00022587 | 0.0018926 | -0.0012143 | 0.0019436 | 7.4018e-05
| -0.0039667 | 0.0050249 | 0.0011351 | 6.7287e-05 | -0.00094773 | 0.0019436 | -0.00056981 | 0.00048923
| -0.00049699 | 0.00014873 | -7.9423e-05 | 0.00021034 | -0.000332 | 7.4018e-05 | 0.00048923 | -6.0442e-05
Input min | 3 | 104.4676 | 10.0185 | 0.55093 | 10.0648 | 1.5123 | 1.0308 | 5.0247
Input max | 20 | 319.1538 | 15.9815 | 0.84907 | 30.9352 | 5.4877 | 10.9692 | 12.9753
Output min | 76287.9676 | 319.1538 | 15.9815 | 0.84907 | 30.9352 | 5.4877 | 10.9692 | 12.9753
output max | 1789312.0716
3064507.4118
Output scaled Constant | [8 empty] | -0.27431
Output scaled linear | -0.015677 | -0.056255 | -1.1393e-13 | 1.5142e-16 | -0.0014791 | -0.0002621 | -0.00016377 | 7.3153e-06 | -0.07383
Output scaled quadratic | 0.0074697 | -0.0055006 | 1.6503e-15 | 9.4934e-17 | 1.5831e-05 | 1.7941e-05 | -7.0435e-05 | -1.1031e-05 | 0.0019214
| -0.0055006 | 0.0063848 | 3.6028e-15 | -2.7382e-17 | 7.1309e-05 | -2.1283e-05 | 5.5631e-05 | 2.0582e-06 | 0.00099191
| 1.6503e-15 | 3.6028e-15 | -1.7271e-26 | -4.8289e-27 | -1.6804e-16 | 1.1225e-15 | -6.8952e-16 | 6.0308e-17 | 5.5784e-15
| 9.4934e-17 | -2.7382e-17 | -4.8289e-27 | 1.3932e-26 | -4.4209e-17 | 1.7151e-16 | -4.0875e-17 | -1.5972e-16 | -5.7444e-18
| 1.5831e-05 | 7.1309e-05 | -1.6804e-16 | -4.4209e-17 | -9.5872e-07 | 1.1406e-05 | -4.5692e-06 | -2.0008e-06 | 9.1017e-05
| 1.7941e-05 | -2.1283e-05 | 1.1225e-15 | 1.7151e-16 | 1.1406e-05 | -3.8419e-05 | 4.9194e-05 | 2.3419e-06 | 2.1181e-05
| -7.0435e-05 | 5.5631e-05 | -6.8952e-16 | -4.0875e-17 | -4.5692e-06 | 4.9194e-05 | -1.1538e-05 | 1.2383e-05 | 3.0666e-05
| -1.1031e-05 | 2.0582e-06 | 6.0308e-17 | -1.5972e-16 | -2.0008e-06 | 2.3419e-06 | 1.2383e-05 | -1.9123e-06 | 1.8389e-06
Output scaled | -0.34508
Output unscaled | 510558.7929

## monopile_mass_IP_10
| RP | D | Htrans | HHub_Ratio | WaterDepth | WaveHeight | WavePeriod | WindSpeed
Input | 10 | 200 | 13 | 0.7 | 20 | 3 | 5 | 8
Input scaled | 0.27273 | 0.33848 | 6.0372e-12 | 6.0372e-12 | -0.047915 | -0.25155 | -0.20124 | -0.25155
Linear | -0.0015052 | 0.31227 | 0.022495 | -0.00051257 | 0.28661 | -0.014038 | 0.0025747 | 0.0021074
Quadratic | -0.014279 | 0.11706 | -0.0024285 | -0.004204 | -0.045813 | 0.0037764 | -0.0036605 | 0.010849
| 0.11706 | -0.31788 | 0.018636 | 0.0045328 | 0.16853 | 0.0077565 | -0.000951 | -0.011836
| -0.0024285 | 0.018636 | 0.0054323 | 0.0034872 | -0.0045442 | -0.0054649 | 0.0025864 | -0.00049824
| -0.004204 | 0.0045328 | 0.0034872 | -0.0046442 | 0.0039363 | -0.0016494 | -0.0020184 | -0.00039007
| -0.045813 | 0.16853 | -0.0045442 | 0.0039363 | 0.034626 | -0.018893 | 0.0083344 | -0.0039999
| 0.0037764 | 0.0077565 | -0.0054649 | -0.0016494 | -0.018893 | -0.0095095 | -0.0086272 | -0.00059029
| -0.0036605 | -0.000951 | 0.0025864 | -0.0020184 | 0.0083344 | -0.0086272 | 0.0093708 | 0.006102
| 0.010849 | -0.011836 | -0.00049824 | -0.00039007 | -0.0039999 | -0.00059029 | 0.006102 | 0.0035316
Input min | 3 | 104.4676 | 10.0185 | 0.55093 | 10.0648 | 1.5123 | 1.0308 | 5.0247
Input max | 14 | 247.2155 | 15.9815 | 0.84907 | 30.9352 | 5.4877 | 10.9692 | 12.9753
Output min | 151753.7083 | 319.1538 | 15.9815 | 0.84907 | 30.9352 | 5.4877 | 10.9692 | 12.9753
output max | 950312.6059
3064507.4118
Output scaled Constant | [8 empty] | -0.18935
Output scaled linear | -0.00041052 | 0.10569 | 1.358e-13 | -3.0945e-15 | -0.013733 | 0.0035314 | -0.00051813 | -0.00053012 | 0.094034
Output scaled quadratic | -0.00053105 | 0.0054028 | -1.9993e-15 | -3.4609e-15 | 0.00029933 | -0.00012954 | 0.00010045 | -0.00037216 | 0.0047699
| 0.0054028 | -0.018209 | 1.9041e-14 | 4.6312e-15 | -0.0013666 | -0.00033021 | 3.2389e-05 | 0.00050389 | -0.013967
| -1.9993e-15 | 1.9041e-14 | 9.8997e-26 | 6.355e-26 | 6.5724e-16 | 4.1497e-15 | -1.5712e-15 | 3.7833e-16 | 2.0656e-14
| -3.4609e-15 | 4.6312e-15 | 6.355e-26 | -8.4635e-26 | -5.6932e-16 | 1.2525e-15 | 1.2261e-15 | 2.9619e-16 | 3.3757e-15
| 0.00029933 | -0.0013666 | 6.5724e-16 | -5.6932e-16 | 3.9747e-05 | -0.00011386 | 4.0182e-05 | -2.4105e-05 | -0.0011253
| -0.00012954 | -0.00033021 | 4.1497e-15 | 1.2525e-15 | -0.00011386 | -0.00030087 | -0.00021836 | -1.8676e-05 | -0.0011115
| 0.00010045 | 3.2389e-05 | -1.5712e-15 | 1.2261e-15 | 4.0182e-05 | -0.00021836 | 0.00018975 | 0.00015445 | 0.00029886
| -0.00037216 | 0.00050389 | 3.7833e-16 | 2.9619e-16 | -2.4105e-05 | -1.8676e-05 | 0.00015445 | 0.00011174 | 0.00035514
Output scaled | -0.1061
Output unscaled | 490516.208

## tower_mass_IP_10
| RP | D | Htrans | HHub_Ratio | WaterDepth | WaveHeight | WavePeriod | WindSpeed
Input | 10 | 200 | 13 | 0.7 | 20 | 3 | 5 | 8
Input scaled | 0.27273 | 0.33848 | 6.0372e-12 | 6.0372e-12 | -0.047915 | -0.25155 | -0.20124 | -0.25155
Linear | 0.095623 | 0.4452 | -0.023187 | -1.3743e-05 | 0.040271 | -0.0043113 | 0.0048581 | 0.00022123
Quadratic | 0.20556 | -0.12292 | -0.0034619 | -0.0014471 | 0.01711 | 0.0070077 | 0.00022031 | -0.0015789
| -0.12292 | 0.29235 | -0.0076716 | 0.0019951 | 0.027115 | -0.0043021 | -0.002205 | 0.00092438
| -0.0034619 | -0.0076716 | -0.0028102 | 0.0014275 | 0.00063672 | -0.0040451 | 0.0019259 | 0.00039022
| -0.0014471 | 0.0019951 | 0.0014275 | -0.0012133 | 0.0008445 | 0.0007463 | -0.0006005 | -0.00014772
| 0.01711 | 0.027115 | 0.00063672 | 0.0008445 | -0.018114 | 0.0014525 | -0.0036069 | -0.0014419
| 0.0070077 | -0.0043021 | -0.0040451 | 0.0007463 | 0.0014525 | -0.0088615 | 0.0014504 | -0.00025683
| 0.00022031 | -0.002205 | 0.0019259 | -0.0006005 | -0.0036069 | 0.0014504 | -0.0071165 | 0.00020941
| -0.0015789 | 0.00092438 | 0.00039022 | -0.00014772 | -0.0014419 | -0.00025683 | 0.00020941 | 0.0011192
Input min | 3 | 104.4676 | 10.0185 | 0.55093 | 10.0648 | 1.5123 | 1.0308 | 5.0247
Input max | 14 | 247.2155 | 15.9815 | 0.84907 | 30.9352 | 5.4877 | 10.9692 | 12.9753
Output min | 46809.2286 | 319.1538 | 15.9815 | 0.84907 | 30.9352 | 5.4877 | 10.9692 | 12.9753
output max | 1066721.2918
3064507.4118
Output scaled Constant | [8 empty] | -0.25397
Output scaled linear | 0.026079 | 0.15069 | -1.3998e-13 | -8.2972e-17 | -0.0019296 | 0.0010845 | -0.00097765 | -5.5651e-05 | 0.17489
Output scaled quadratic | 0.0076449 | -0.0056737 | -2.85e-15 | -1.1913e-15 | -0.00011179 | -0.00024038 | -6.0457e-06 | 5.4159e-05 | 0.0016671
| -0.0056737 | 0.016747 | -7.8382e-15 | 2.0384e-15 | -0.00021988 | 0.00018315 | 7.5099e-05 | -3.9353e-05 | 0.011072
| -2.85e-15 | -7.8382e-15 | -5.1213e-26 | 2.6014e-26 | -9.2091e-17 | 3.0716e-15 | -1.1699e-15 | -2.9631e-16 | -9.175e-15
| -1.1913e-15 | 2.0384e-15 | 2.6014e-26 | -2.211e-26 | -1.2214e-16 | -5.6669e-16 | 3.6478e-16 | 1.1217e-16 | 6.3526e-16
| -0.00011179 | -0.00021988 | -9.2091e-17 | -1.2214e-16 | -2.0794e-05 | 8.7538e-06 | -1.739e-05 | -8.6896e-06 | -0.00036979
| -0.00024038 | 0.00018315 | 3.0716e-15 | -5.6669e-16 | 8.7538e-06 | -0.00028037 | 3.6712e-05 | -8.1258e-06 | -0.00030026
| -6.0457e-06 | 7.5099e-05 | -1.1699e-15 | 3.6478e-16 | -1.739e-05 | 3.6712e-05 | -0.0001441 | 5.3005e-06 | -5.0426e-05
| 5.4159e-05 | -3.9353e-05 | -2.9631e-16 | 1.1217e-16 | -8.6896e-06 | -8.1258e-06 | 5.3005e-06 | 3.5412e-05 | 3.8703e-05
Output scaled | -0.067018
Output unscaled | 507942.1224

## monopile_mass_IP_3
| RP | D | Htrans | HHub_Ratio | WaterDepth | WaveHeight | WavePeriod | WindSpeed
Input | 10 | 200 | 13 | 0.7 | 20 | 3 | 5 | 8
Input scaled | 1.3333 | 1.4984 | 6.0372e-12 | 6.0372e-12 | -0.047915 | -0.25155 | -0.20124 | -0.25155
Linear | 0.13269 | 0.09678 | 0.011424 | 0.0013757 | 0.2695 | -0.029947 | 0.0021347 | -0.0024789
Quadratic | 0.26531 | -0.14703 | 0.0037683 | 0.0016204 | 0.023823 | 0.0057718 | -0.017668 | -0.0098989
| -0.14703 | -0.041856 | 0.010515 | -0.0031416 | 0.069386 | 0.0066337 | 0.011676 | 0.013151
| 0.0037683 | 0.010515 | 0.0059416 | 0.00020126 | -0.01184 | -0.0099209 | -0.0032495 | -0.0017069
| 0.0016204 | -0.0031416 | 0.00020126 | 0.0015201 | 0.0062582 | -0.0032021 | -0.0036264 | -0.0043979
| 0.023823 | 0.069386 | -0.01184 | 0.0062582 | 0.0060688 | -0.036863 | 0.0090165 | -0.010142
| 0.0057718 | 0.0066337 | -0.0099209 | -0.0032021 | -0.036863 | -0.0082289 | -0.012942 | -0.0025079
| -0.017668 | 0.011676 | -0.0032495 | -0.0036264 | 0.0090165 | -0.012942 | 0.0087241 | 0.0055619
| -0.0098989 | 0.013151 | -0.0017069 | -0.0043979 | -0.010142 | -0.0025079 | 0.0055619 | -0.014251
Input min | 3 | 104.4676 | 10.0185 | 0.55093 | 10.0648 | 1.5123 | 1.0308 | 5.0247
Input max | 9 | 180.9432 | 15.9815 | 0.84907 | 30.9352 | 5.4877 | 10.9692 | 12.9753
Output min | 170511.1761 | 319.1538 | 15.9815 | 0.84907 | 30.9352 | 5.4877 | 10.9692 | 12.9753
output max | 932732.8874
3064507.4118
Output scaled Constant | [8 empty] | -0.24102
Output scaled linear | 0.17692 | 0.14501 | 6.8966e-14 | 8.3054e-15 | -0.012913 | 0.0075331 | -0.00042959 | 0.00062357 | 0.31674
Output scaled quadratic | 0.23583 | -0.14687 | 1.5167e-14 | 6.5216e-15 | -0.00076098 | -0.00096793 | 0.0023703 | 0.0016601 | 0.09126
| -0.14687 | -0.046986 | 4.756e-14 | -1.421e-14 | -0.0024907 | -0.0012502 | -0.0017603 | -0.0024784 | -0.20184
| 1.5167e-14 | 4.756e-14 | 1.0828e-25 | 3.6677e-27 | 1.7125e-15 | 7.5332e-15 | 1.9739e-15 | 1.2961e-15 | 7.5242e-14
| 6.5216e-15 | -1.421e-14 | 3.6677e-27 | 2.7702e-26 | -9.0515e-16 | 2.4315e-15 | 2.2029e-15 | 3.3395e-15 | -6.1924e-16
| -0.00076098 | -0.0024907 | 1.7125e-15 | -9.0515e-16 | 6.9664e-06 | -0.00022215 | 4.347e-05 | -6.1123e-05 | -0.0034846
| -0.00096793 | -0.0012502 | 7.5332e-15 | 2.4315e-15 | -0.00022215 | -0.00026035 | -0.00032759 | -7.9348e-05 | -0.0031075
| 0.0023703 | -0.0017603 | 1.9739e-15 | 2.2029e-15 | 4.347e-05 | -0.00032759 | 0.00017665 | 0.00014078 | 0.00064332
| 0.0016601 | -0.0024784 | 1.2961e-15 | 3.3395e-15 | -6.1123e-05 | -7.9348e-05 | 0.00014078 | -0.00045089 | -0.0012689
Output scaled | -0.042071
Output unscaled | 528716.5837

## tower_mass_IP_3
| RP | D | Htrans | HHub_Ratio | WaterDepth | WaveHeight | WavePeriod | WindSpeed
Input | 10 | 200 | 13 | 0.7 | 20 | 3 | 5 | 8
Input scaled | 1.3333 | 1.4984 | 6.0372e-12 | 6.0372e-12 | -0.047915 | -0.25155 | -0.20124 | -0.25155
Linear | 0.25367 | 0.27766 | -0.03664 | 0.0014479 | 0.040379 | -0.014158 | 0.0045707 | 0.00089881
Quadratic | 0.50291 | -0.34361 | -0.0061092 | 0.0028653 | 0.015837 | 0.01235 | -0.015679 | 0.0013142
| -0.34361 | 0.3596 | -0.00047521 | -0.0032749 | 0.031934 | -0.005047 | 0.008338 | 0.00063387
| -0.0061092 | -0.00047521 | -0.0091873 | 8.6306e-05 | 0.00091842 | -0.0063088 | 0.0032102 | 0.00016111
| 0.0028653 | -0.0032749 | 8.6306e-05 | 0.0077588 | 0.0014911 | -0.0024292 | -0.00056773 | 0.00057333
| 0.015837 | 0.031934 | 0.00091842 | 0.0014911 | -0.043341 | -0.0027445 | -0.0054565 | -0.005375
| 0.01235 | -0.005047 | -0.0063088 | -0.0024292 | -0.0027445 | -0.0060609 | -0.00067244 | 0.0035058
| -0.015679 | 0.008338 | 0.0032102 | -0.00056773 | -0.0054565 | -0.00067244 | -0.020555 | 0.0035743
| 0.0013142 | 0.00063387 | 0.00016111 | 0.00057333 | -0.005375 | 0.0035058 | 0.0035743 | -0.003955
Input min | 3 | 104.4676 | 10.0185 | 0.55093 | 10.0648 | 1.5123 | 1.0308 | 5.0247
Input max | 9 | 180.9432 | 15.9815 | 0.84907 | 30.9352 | 5.4877 | 10.9692 | 12.9753
Output min | 98210.6462 | 319.1538 | 15.9815 | 0.84907 | 30.9352 | 5.4877 | 10.9692 | 12.9753
output max | 803813.9268
3064507.4118
Output scaled Constant | [8 empty] | -0.18493
Output scaled linear | 0.33823 | 0.41603 | -2.212e-13 | 8.741e-15 | -0.0019347 | 0.0035614 | -0.00091981 | -0.0002261 | 0.75475
Output scaled quadratic | 0.44703 | -0.34324 | -2.4588e-14 | 1.1532e-14 | -0.00050587 | -0.0020711 | 0.0021035 | -0.0002204 | 0.1031
| -0.34324 | 0.40368 | -2.1494e-15 | -1.4812e-14 | -0.0011463 | 0.00095116 | -0.0012571 | -0.00011946 | 0.058871
| -2.4588e-14 | -2.1494e-15 | -1.6743e-25 | 1.5728e-27 | -1.3284e-16 | 4.7905e-15 | -1.9501e-15 | -1.2233e-16 | -2.4152e-14
| 1.1532e-14 | -1.4812e-14 | 1.5728e-27 | 1.4139e-25 | -2.1567e-16 | 1.8445e-15 | 3.4487e-16 | -4.3535e-16 | -1.7418e-15
| -0.00050587 | -0.0011463 | -1.3284e-16 | -2.1567e-16 | -4.9751e-05 | -1.654e-05 | -2.6307e-05 | -3.2392e-05 | -0.0017772
| -0.0020711 | 0.00095116 | 4.7905e-15 | 1.8445e-15 | -1.654e-05 | -0.00019176 | -1.702e-05 | 0.00011092 | -0.0012343
| 0.0021035 | -0.0012571 | -1.9501e-15 | 3.4487e-16 | -2.6307e-05 | -1.702e-05 | -0.00041621 | 9.0471e-05 | 0.00047735
| -0.0002204 | -0.00011946 | -1.2233e-16 | -4.3535e-16 | -3.2392e-05 | 0.00011092 | 9.0471e-05 | -0.00012513 | -0.00029599
Output scaled | 0.72896
Output unscaled | 818408.3466